## Wells
TID WELLS 2010 (Sept 9 - Sept 16)
TOTAL
| DATE | TIME | DATE | TIME |  |  | METER | METER | AF | STATIC | PUMPING |  | FIRST | TOTAL
SITE | STARTED | STARTED | CHECKED | CHECKED | GPM | CFS | START | PRESENT | PUMPED | HEAD | HEAD |  | READING | PUMPED
1 | 2010-09-09 | 8:20 | 2010-09-16 | 8:20 | 0 | 0 | 5319.04 | 5319.04 | 0 | 44.8 | 53.3 | Off | 2528.35 | 2790.69
2 | 2010-09-09 | 8:35 | 2010-09-16 | 8:35 | 0 | 0 | 9446.45 | 9446.45 | 0 | 55.2 | 127.6 | Off | 4386.59 | 5059.86
3 | 2010-09-09 | 8:45 | 2010-09-16 | 8:45 | 0 | 0 | 5084.77 | 5084.77 | 0 | 55 | 183.6 | Off | 2782.15 | 2302.62
4 | 2010-09-09 | 8:55 | 2010-09-16 | 8:55 | 0 | 0 | 8622.77 | 8622.77 | 0 | 50.5 | 146.1 | Off | 7567.5 | 1055.27
5 | 2010-09-09 | 9:05 | 2010-09-16 | 9:05 | 0 | 0 | 12704.07 | 12704.07 | 0 | 50.7 | 145.2 | Off | 11176.16 | 1527.91
6 | 2010-09-09 | 9:15 | 2010-09-16 | 9:20 | 0 | 0 | 7508.34 | 7508.34 | 0 | 59.6 | 204.3 | Off | 5790.91 | 1717.43
7 | 2010-09-09 | 9:35 | 2010-09-16 | 9:40 | 0 | 0 | 3112.44 | 3112.44 | 0 | 65.5 | 254.2 | Off | 855.85 | 2256.59
8 | 2010-09-09 | 10:00 | 2010-09-16 | 10:05 | 0 | 0 | 6684.68 | 6684.68 | 0 | 45.4 | 251.7 | Off | 4399.69 | 2284.99
9 | 2010-09-09 | 9:45 | 2010-09-16 | 9:50 | 0 | 0 | 7680.71 | 7680.71 | 0 | 43.5 | 249.8 | Off | 5918.43 | 1762.28
14 | 2010-09-09 | 10:30 | 2010-09-16 | 10:30 | 0 | 0 | 8063.79 | 8063.79 | 0 | 35.7 | 47.5 | Off | 6146.71 | 1917.08
|  |  |  | TOTAL CFS |  | 0
|  |  |  | GROUND WATER PUMPED (Sept 9 - Sept 16) |  |  |  |  | 0 | Acre Feet
|  |  |  | GROUND WATER PUMPED (Sept 2 - Sept 9) |  |  |  |  | 0.16 | Acre Feet
|  |  |  | TOTAL PUMPED SEPTEMBER |  |  |  |  | 0.16 | Acre Feet |  |  |  |  | 22674.72
|  |  |  | TOTAL PUMPED AUGUST |  |  |  |  | 2183.87 | Acre Feet
|  |  |  | TOTAL PUMPED JULY |  |  |  |  | 4328.69 | Acre Feet
|  |  |  | TOTAL PUMPED JUNE |  |  |  |  | 5837.01 | Acre Feet
|  |  |  | TOTAL PUMPED MAY |  |  |  |  | 4560.32 | Acre Feet
|  |  |  | TOTAL PUMPED APRIL |  |  |  |  | 5266.82 | Acre Feet
|  |  |  | TOTAL PUMPED MARCH |  |  |  |  | 497.85 | Acre Feet
|  |  |  | TOTAL PUMPED 2010 |  |  |  |  | 22674.72 | Acre Feet